## Slide 1: Corrupted GOOSE Detectors: Anomaly Detection in Power Utility Real-Time Ethernet Communications
Maëlle Kabir-Querrec
Stéphane Mocanu
Pascal Bellemain
Jean-Marc Thiriet
Eric Savary

## Slide 2: Content
Introduction & objectives
Substation Automation System
  IEC 61850 architecture
  GOOSE protocol
Attack detection
  GOOSE attack resilient architecture
  Ethernet storm detection
  Corrupted GOOSE messages detection
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
2 / 11

## Slide 3: Introduction & Objectives
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
3 / 11
2003 North America Blackout
Smart-grid  open & global networks
IEC 61850 standard  interoparability
"Communication networks and systems for power utility automation"
security through isolation
security through obscurity
Introduction | SAS | Attack detection | Conclusion
Dedicated security measures are required!

## Slide 4: Substation Automation System - SAS IEC 61850 communication architecture
4 / 11
OSI mapping of IEC 61850 protocols
IEC 61850 communication architecture
Introduction | SAS | Attack detection | Conclusion
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec

## Slide 5: Substation Automation System - SAS GOOSE protocol
5 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
GOOSE frame structure
T0
(T0)
T3
T0
Transmission time
T2
T1
T1
event
T0 | retransmission in stable conditions (no event for a long time)
(T0) | retransmission in stable conditions may be shortened by an event
T1 | shortest retransmission time after an event
T2, T3 | longer retransmission times until achieving stable conditions
GOOSE transmission mechanism
Attacks:
Ethernet storm
Fraudulent GOOSE messages
Introduction | SAS | Attack detection | Conclusion

## Slide 6: GOOSE attack detection GOOSE attack resilient architecture
6 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
Resilient communication architecture
Ethernet IED-supervision
Ethernet IED-IED
Modbus
Bandwidth checker
Corrupted GOOSE detector
SCADA
Request
Alarm
IED 1
IED
coupling
IED 2
supply 1
supply 2
coupling
section 1
section 2
Introduction | SAS | Attack detection | Conclusion

## Slide 7: GOOSE attack detection Bandwidth checker
7 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
From ifstat
Start ifstat in Modbus server mode
Initialize Modbus server
Wait for client connections
While (ifstat runs)
While (Client_Connection_Counter < Configured_Window)
Mean_Bandwidth += Number_of_IN_Frames_Since_Last_Connection / Configured_Window
Reset Client_Connection_Counter
Introduction | SAS | Attack detection | Conclusion
Algo – bandwidth measurement

## Slide 8: GOOSE attack detection Corrupted GOOSE frame detector
8 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
GOOSE attack timeline
T0
T0
T0
T1
T0
T1
T1
T1
T1
T1
T1
T1
T1
T1
T0
Attack – false GOOSE messages
Legitimate messages
Inconsistent Sequence numbers
Consecutive Sequence numbers
GOOSE scapy master to:
sniff GOOSE messages,
decode them,
change a Boolean variable value in Data Set
modify StNum and SqNum appropriately,
encode fraudulent message,
send it.
Introduction | SAS | Attack detection | Conclusion
Algo – fraudulent GOOSE message generator

## Slide 9: GOOSE attack detection Corrupted GOOSE frame detector
9 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
From tcpdump 4.7.4 / libpcap 1.7.4
Results from fraudulent GOOSE detector (GICS platform)
Start tcpdump in Modbus server mode
Initialize Modbus server
While (tcpdump runs)
Get captured GOOSE message
Get RxTime
Get GOOSE PDU fields and store them
Check Source_Address
Check GoID
Check StNum and SqNum
Check RxTime
Introduction | SAS | Attack detection | Conclusion
Algo – fraudulent GOOSE message detector
Legitimate message
Fraudulent message

## Slide 10: Conclusion & further work
GOOSE traffic analyzer
The whole architecture is not completed yet.
10 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec
Introduction | SAS | Attack detection | Conclusion

## Slide 11
Questions
& comments
11 / 11
GreHack 2015 11/20/2015 Maëlle Kabir-Querrec